## Facility Impact Assessment
ABC Mattress
Score each Business Activity and Impact, score it's Magnitude and Frequency using the table below:
Score | Magnitude | Frequency | .
0 | No waste generated or energy/water consumed | Does not happen at this site
1 | Some waste generated or energy/water consumed | Multiple Times per Month
2 | Moderate waste generated or energy/water consumed | Multiple Times per Week
3 | One of largest generators/consumers on site | Multiple Times per Day
Each Business Activity includes Impacts when a decision is made there that affects energy, waste, or water
Business Activity | Includes | Impact | Magnitude (0-3) | Frequency (0-3) | Total Impact | Controls | Opportunities
Baler | Electrical, hydraulic | Energy | 2 | 2 | 4 | Auto shutoff | TBD
Baler | Cardboard, scrap foam | Waste | 3 | 3 | 9 | Bales are created | Send to sister company for recycling and used in carpeting
Break Rooms | Lighting, Kitchen microwave, fridge, freezer, ice maker, vending machines, time clocks, TVs, hand dryers | Energy | 1 | 3 | 3 | Occupancy sensors on lighting, turn off ice in winter, TVs shutdown at end of shift, Energy Star microwave | Upgrade remaining appliances to Energy Star, use TV Sleep timer
Break Rooms | Sinks, Bathrooms, Lunch/food waste, packaging, Vending Machines, etc. | Waste | 1 | 3 | 3 | Recycling containers, hand dryers decrease bathroom waste | Food waste recycling/composting, paper recycling bin
Break Rooms | Kitchens, Bathrooms | Water | 1 | 3 | 3 | None in place | Water sink sensor (hands-free), low-flush toilets, water-free urinals
Facility Maintenance | Air Compressor, Electrical, Office HVAC, Facility Lighting | Energy | 3 | 3 | 9 | Air compressor VFD/pressure sensor, LED with occupancy sensors | Weekend shutdown/automation
Facility Maintenance | Rags, aerosol cans, old glue | Waste | 1 | 1 | 1 | Collection containers for special wastes, aerosol puncture recycling | Hand pump brake cleaning replacement for aerosol (refillable)
Facility Maintenance | Compressor Blowdown (wastewater), Wet floor scrub | Water | 1 | 2 | 2 | Industrial wastewater | Switch to low-impact soaps/detergents
Foam Cutting | Machinery (band saws, baler), Light Switches, Fans, Compressed Air (small) | Energy | 2 | 3 | 6 | None | LED Lighting, Lighting sensors, Sensors/timers on fans
Foam Cutting | Foam scrap, aerosol cans | Waste | 3 | 3 | 9 | Recycling for foam scrap, aerosol cans | Reduction with supplier
Foam Cutting | None | Water | 0 | 0 | 0 | None | None
Lamination Line | Electrical: laminator, saws, Vertical Baler, Infrared Heater (process heater), Compressed air | Energy | 3 | 3 | 9 | Shutdown at end of shift, including air compressor | None identified
Lamination Line | Glue cleaning waste rags, foam trimmings, cardboard from cover boxes, FR scrap from sewing, cardboard roll cores, label stickerback | Waste | 2 | 3 | 6 | Run glue supply down to avoid discards, baler for foam, cardboard to BOM baler, | Reuse cardboard roll cores, FR fabric scrap recycling?, waste rag recovery?
Lamination Line | Glue roller cleaning | Water | 1 | 3 | 3 | None in place | None identified
Office | Lighting, HVAC, computers | Energy | 2 | 3 | 6 | Auto shutoff lighting (occupancy sensor), window blinds heat reduction | Investigate weekend HVAC, LED Lighting
Office | ewaste, spent lamps, paper waste | Waste | 1 | 3 | 3 | Paper recycling (Shred-It) | LED lighting, spent lamp reduction
Packing | Packing Machine (electrical, compressed air), Scales, Fans, Printers, Tablets, Cell phone charging | Energy | 2 | 3 | 6 | Shut down if not used in a shift | Check for compressed air leaks, Consider shutdown tablet chargers (power strips) when not needed, Thermographic survey for hotspots
Packing | Plastic rejects, roll change; broken wood (damaged pallets); cardboard cores | Waste | 3 | 3 | 9 | ~20% of cardboard recycled, Plastic proper sizing to eliminate side cuts | Broken wood collection, find recycling vendor for plastic collected in cardboard boxes (with baler?), increase cardboard collection
Facility Impact Assessment